Chinese         English                         Home Page   News   Product  Feedback   About US   WebMap

|  | Thin Type Toroidal Transformer Item; Power Range; Input Votlage; Output Unload Valtage; Output Load Voltage; Dimensions; Weight (kg); Temperature Rise(℃). 50 Hz VA; Vac; Vac±5％; Vac±5％; D (mm); H (mm). 1; 12; 230; 10.5; 8.5; 61; 27; 0.27; 60. 2; 40; 208×2; 32; 28; 105; 25; 0.85; 60. 3; 50; 220; 14; 12; 117; 21; 0.87; 47. 4; 60; 230; 14; 12; 108; 23; 0.82; 67. |
| --- | --- |

More Information About Thin Type Toroidal Transformer

Detailed Product Description

Product Directory

Power Transformer

Audio Transformer

Three Phase Transformer

Auto Transformer

Control Transformer

Power Adapter

Special Transformer