Chinese         English                         Home Page   News   Product  Feedback   About US   WebMap

| Product Directory Power Transformer Audio Transformer Three Phase Transformer Auto Transformer Control Transformer Power Adapter Special Transformer |  |
| --- | --- |

More Information About O-Core Transformer

O-Core Transformer specifications:

*Without fracture;
    *With round section area;

*Flat rotundity, shorter height, longer diameter.

Compare to Toroidal Transformer:

a. Saving 11.4%--30% medial winding length;

b.With .round section area, magnetic field is evener, less magnetic loss.

Compare to R-Core Transformer:

a.with no frame astriction;

b.better electromagnetism coupling and higher efficiency.

Size Of Form And Installtion:

| Model | Capacity(VA) | - Size Of Product |  | Weight(kg) | Fixed-OS(mm) | Srew(mm) |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | H(mm) | D(mm) |  |  |  |
| PO-10 | 10 | 21 | 66 | 0.4 | Φ6.5 | # M6 |
| PO-20 | 20 | 24 | 78 | 0.55 | Φ6.5 | # M6 |
| PO-30 | 30 | 25 | 80 | 0.7 | Φ6.5 | # M6 |
| PO-40 | 40 | 27 | 85 | 0.85 | Φ6.5 | # M6 |
| PO-50 | 50 | 30 | 94 | 1 | Φ6.5 | # M6 |
| PO-80 | 80 | 32 | 100 | 1.3 | Φ8.5 | # M8 |
| PO-100 | 100 | 35 | 106 | 1.5 | Φ8.5 | # M8 |
| PO-120 | 120 | 36 | 113 | 1.95 | Φ8.5 | # M8 |
| PO-150 | 150 | 38 | 117 | 2.3 | Φ8.5 | # M8 |
| PO-200 | 200 | 42 | 125 | 3 | Φ8.5 | # M8 |
| PO-250 | 250 | 44 | 132 | 3.2 | Φ8.5 | # M8 |
| PO-300 | 300 | 45 | 135 | 3.6 | Φ8.5 | # M8 |
| PO-400 | 400 | 50 | 148 | 4 | Φ8.5 | # M8 |
| PO-500 | 500 | 57 | 158 | 4.7 | Φ8.5 | # M8 |
| PO-600 | 600 | 59 | 162 | 5.8 | Φ8.5 | # M8 |
| PO-800 | 800 | 60 | 174 | 7.5 | Φ8.5 | # M8 |
| PO-1000 | 1000 | 65 | 185 | 9 | Φ8.5 | # M8 |

The Picture Of  Installation

The Picture Of Form Size

Detailed Product Description